## Slide 1: KNX Advanced Course
KNX Secure

## Slide 2: KNX insecure telegram – KNX telegram with authentication

## Slide 3: KNX telegram with additional encryption of user data

## Slide 4: KNX IP Secure
Notes: S

## Slide 5: KNX Data Secure

## Slide 6: Opening a Password-protected ETS project

## Slide 7: Allocation of a project password that has the right combination of letters, numbers and characters

## Slide 8: Project details of a project containing secure devices

## Slide 9: "Security" tab of an ETS project with KNX Secure devices
Possibility to export key information
Possibility to add another device certificate

## Slide 10: Reading in/entry of device certificates of KNX Secure devices
QR code
PC Webcam display that can be used for scanning the QR code (if available)
Indication that certificate was already scanned and is part of the project
Input field for FDSK key manual entry

## Slide 11: Method of generating and downloading security keys

## Slide 12: Illustration of KNX Secure devices in the topology
Non secure KNX device
KNX secure device

## Slide 13: Selecting a KNX Secure device – Group object list
Group object with secure group address
Group object with plain group address

## Slide 14: Selecting a secure group address and the corresponding associations
Secure Group Address
Plain Group Address

## Slide 15: Group address security setting

## Slide 16: Validation failed

## Slide 17: Security Notice

## Slide 18: IP Backbone settings (1)
Click on the word ‘Topology Backbone’

## Slide 19: IP Backbone settings (2)

## Slide 20: Security Notice

## Slide 21: Selecting a KNX IP Secure device – Properties – Settings

## Slide 22: Selecting a KNX IP Secure device – Properties – IP

## Slide 23: Selecting a KNX IP tunnelling interface in the topology

## Slide 24: Error message - failed connection with KNX Secure IP tunnelling interface

## Slide 25: Allocating secure group addresses to an IP tunnelling interface

## Slide 26: Monitoring the telegram traffic without matching ETS project open
User Data not interpretable

## Slide 27: Monitoring the telegram traffic with matching ETS project open
User Data interpretable

## Slide 28: Security settings printing options

## Slide 29: Security Proxy
1.0.20Plain
1.1.30Secure
1/1/1 Plain
1/1/1 Secure
Security Proxy

## Slide 30: Security Domains
0.0 IP Backbone
1.0.0 IP Router without security proxy
1.0.7 TP Actuator
1.1.0 Media Coupler with security proxy
1.1.2 RF Sensor
1.0 TP Area
1.1 RF Line
Security domain

## Slide 31: Transfer Domains
Examples
A group address is linked to a secure object in line 1.1 and a plain object in line 2.1
A group address is linked to a secure object in line 1.1 and a plain object in lines 2.1 and 1.0
A group address is linked to a secure object in lines 1.1 and 3.1 a plain object in lines 2.1 and 1.0
1.1 S
1.0 ?
0.0 ?
2.0 ?
2.1 P
1.1 S
1.0 P
0.0 ?
2.0 ?
2.1 P
1.1 S
1.0 P
0.0 ?
2.0 ?
2.1 P
3.0 ?
3.1 S
1.1 S
1.0 S
0.0 S
2.0 S
2.1 P
1.1 S
1.0 P
0.0 P
2.0 P
2.1 P
1.1 S
1.0 P
0.0 S
2.0 S
2.1 P
3.0 S
3.1 S

## Slide 32: Preview Filter Table

## Slide 33: Security support of software on interfaces

## Slide 34: Summary
In a KNX installation, KNX IP Secure and KNX Data Secure devices can be used in parallel.
In a KNX system, secure and plain applications can be used in parallel. Not all devices have to be secure.
If several IP routers are used in a system and one of these is changed to KNX IP Secure, all the others must also be changed to IP Secure.
A group object in a device that is already connected to a secure group address, can no longer be connected with a different non-secure group object. Without security proxies in the installation, this rule applies for the entire installation. With a security proxy in the installation, this applies to the relevant security domain.
Within a same security domain, a group address needs to be either plain or secure for all connected group objects. If one device does not offer security and security is indispensable, this non-secure KNX device may have to be exchanged for a KNX Secure device.
The new security functions can be integrated seamlessly into existing systems. KNX Secure is an upward-compatible extension: existing devices ignore KNX Secure messages.